## Slide 1: Test interface/request form

## Slide 2: Architecture (update this with Django and IIS)
Batch owners
.exe
.exe
.exe
.exe
Test interface
Test capabilities
RXXX Test details
Optical test WIP
Overall dashboard
RXXX Test details
RNNN Test details
T:\data\R\RXXX
T:\pilot_line\Test scheduling

## Slide 3: Test Instances and block diagrams for testing instructions
Select test (dropdown)
Images
Transmission
Haze
Switching Speed
Pretilt
Electrical checks
Microscopy
Interferometry
Reflectance
Custom or new
Failure Analysis
Methods
Polarisers
  Type
  lamination
  Number of polarisers
  Orientation
Voltage
  Range
  Single Point
  Sweep
Tool
Sample number
Example instances
Images
Polarisers
  Type: Normal
  Lamination: loose
  Orientation of pol1: 0deg
  Orientation of cell: 45deg
  Orientation of pol2: 90deg
Voltage
  Range: Nan
  Single Point: 50V
  Sweep: Nan
Tool
  Imaging setup: Nikon Camera
  Angle of incidence: On-axis
Notes
  Add any comments or additional tests here
Images
Polarisers
  Type: Normal
  Lamination: loose
  Number of polarisers: 2
  Orientation of pol1: 0deg
  Orientation of cell: 45deg
  Orientation of pol2: 90deg
Voltage
  Range: Nan
  Single Point: 0V
  Sweep: Nan
Tool
  Imaging setup: Nikon Camera
  Angle of incidence: On-axis
Notes
  Add any comments or additional tests here

## Slide 4: Test Instances and block diagrams for testing instructions
Transmission
Polarisers
  Type: Normal
  Lamination: loose
  Number of polarisers: 0
  Orientation of pol1: Nan
  Orientation of cell: Nan
  Orientation of pol2: Nan
Voltage
  Range: 0-50V
  Single Point: Nan
  Sweep: F+R
Tool
  Setup: Colorimeter CS-160S
  Angle of incidence: On-axis
Notes
  Add any comments or additional tests here
Sample Number (#)
  Qty:
  Notes:
Transmission
Polarisers
  Type: Normal
  Lamination: loose
  Number of polarisers: 0
  Orientation of pol1: Nan
  Orientation of cell: Nan
  Orientation of pol2: Nan
Voltage
  Range: Nan
  Single Point: 0V
  Sweep: F+R
Tool
  Setup: Perkin Elmer UV-VIS
  Angle of incidence: On-axis
Notes
  Add any comments or additional tests here
Sample Number (#)
Electrical Checks
Polarisers
  Type: Nan
  Lamination: Nan
  Number of polarisers: Nan
  Orientation of pol1: Nan
  Orientation of cell: Nan
  Orientation of pol2: Nan
Voltage
  Range: Nan
  Single Point: Nan
  Sweep: Nan
Tool
  Setup: Multimeter
  Angle of incidence: Nan
Notes
  Add any comments or additional tests here
Switching Speed
Polarisers
  Type: Normal
  Lamination: loose
  Number of polarisers: 0
  Orientation of pol1: Nan
  Orientation of cell: Nan
  Orientation of pol2: Nan
Voltage
  Range: Nan
  Single Point: 50V
  Sweep: Nan
Tool
  Setup: Laser Rig1
  Angle of incidence: On-axis
Notes
  Add any comments or additional tests here